## Plate 1 - Sheet1
Software Version | 3.16.10
Experiment File Path: | C:\Users\rlmlab\Desktop\Jason L\Chlamy-x-microbes-2025-block3\JRL_block3_30_4_7.xpt
Protocol File Path: | C:\Users\rlmlab\Desktop\Jason L\Chlamy-x-microbes-2025-block3\JRL-chlamy-x-mic-block3.prt
Plate Number | Plate 1
Date | 2025-07-25
Time | 15:49
Reader Type: | Synergy H1
Reader Serial Number: | 2410070B
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Set Temperature | Incubator off
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 440, Emission: 670
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL2 | SPL3 | SPL4 | SPL5 | SPL6 | SPL7 | SPL8 | SPL9 | SPL10 | SPL11 | SPL12 | Well ID
| B | SPL13 | SPL14 | SPL15 | SPL16 | SPL17 | SPL18 | SPL19 | SPL20 | SPL21 | SPL22 | SPL23 | SPL24 | Well ID
| C | SPL25 | SPL26 | SPL27 | SPL28 | SPL29 | SPL30 | SPL31 | SPL32 | SPL33 | SPL34 | SPL35 | SPL36 | Well ID
| D | SPL37 | SPL38 | SPL39 | SPL40 | SPL41 | SPL42 | SPL43 | SPL44 | SPL45 | SPL46 | SPL47 | SPL48 | Well ID
| E | SPL49 | SPL50 | SPL51 | SPL52 | SPL53 | SPL54 | SPL55 | SPL56 | SPL57 | SPL58 | SPL59 | SPL60 | Well ID
| F | SPL61 | SPL62 | SPL63 | SPL64 | SPL65 | SPL66 | SPL67 | SPL68 | SPL69 | SPL70 | SPL71 | SPL72 | Well ID
| G | SPL73 | SPL74 | SPL75 | SPL76 | SPL77 | SPL78 | SPL79 | SPL80 | SPL81 | SPL82 | SPL83 | SPL84 | Well ID
| H | SPL85 | SPL86 | SPL87 | SPL88 | SPL89 | SPL90 | SPL91 | SPL92 | SPL93 | SPL94 | SPL95 | SPL96 | Well ID
Results
Actual Temperature: | 21
Actual Temperature: | 21
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 13 | 12 | 10 | 7 | 9 | 6 | 10 | 14 | 11 | 12 | 8 | 9 | Read 1:440,670
|  | 0.869 | 0.864 | 0.887 | 1.046 | 0.939 | 0.934 | 1.021 | 0.957 | 1.036 | 0.847 | 0.964 | 0.75 | Read 2:600
| B | 12 | 12 | 11 | 13 | 9 | 8 | 69 | 6 | 18 | 27 | 10 | 11 | Read 1:440,670
|  | 0.994 | 0.958 | 0.982 | 0.935 | 1.037 | 0.949 | 1.036 | 1.048 | 1.188 | 1.131 | 0.949 | 0.893 | Read 2:600
| C | 13 | 9 | 4807 | 24 | 1026 | 82 | 8 | 7 | 19 | 9 | 12 | 13 | Read 1:440,670
|  | 0.983 | 1.058 | 1.068 | 0.917 | 1.204 | 0.878 | 0.878 | 0.994 | 1.26 | 0.947 | 0.748 | 0.965 | Read 2:600
| D | 11 | 12 | 55 | 5 | 7 | 10 | 11 | 15 | 9 | 12 | 432 | 15 | Read 1:440,670
|  | 0.949 | 1.06 | 0.913 | 1.091 | 0.948 | 0.976 | 0.916 | 1.24 | 0.885 | 1.006 | 1.185 | 0.969 | Read 2:600
| E | 12 | 1093 | 71 | 18 | 12 | 9 | 39 | 7 | 9 | 11 | 55 | 9 | Read 1:440,670
|  | 1.032 | 1.16 | 0.945 | 0.989 | 1.095 | 1.05 | 0.943 | 0.973 | 1.045 | 0.971 | 1.153 | 1.013 | Read 2:600
| F | 10 | 11 | 9 | 8 | 10 | 225 | 9 | 8 | 61 | 780 | 20 | 13 | Read 1:440,670
|  | 0.787 | 0.78 | 0.9 | 0.811 | 0.857 | 1.051 | 1.044 | 1.047 | 1.093 | 1.132 | 1.215 | 0.9 | Read 2:600
| G | 13 | 7 | 119 | 10 | 12 | 17 | 13 | 11 | 7 | 340 | 14 | 11 | Read 1:440,670
|  | 1.157 | 1.066 | 0.986 | 0.891 | 0.904 | 1.125 | 0.723 | 1.003 | 1.097 | 1.092 | 1.043 | 0.962 | Read 2:600
| H | 10 | 9 | 8 | 8 | 14 | 9 | 10 | 11 | 12 | 12 | 1641 | 9 | Read 1:440,670
|  | 1.065 | 0.899 | 0.914 | 0.954 | 1 | 1.053 | 0.886 | 0.883 | 1.069 | 0.986 | 1.052 | 0.975 | Read 2:600