## Plate 1 - Sheet1
Software Version | 3.16.10
Experiment File Path:
Protocol File Path: | C:\Users\rlmlab\Desktop\Jason L\Jason_jess_adjusted_OD600_700_750_fluor.prt
Plate Number | Plate 1
Date | 2024-11-29
Time | 12:54
Reader Type: | Synergy H1
Reader Serial Number: | 2410070B
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Set Temperature | Incubator off
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 440, Emission: 670
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 750
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Results
Actual Temperature: | 20.3
Actual Temperature: | 20.3
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 378 | 445 | 393 | 397 | 657 | 672 | 634 | 723 | 521 | 524 | 741 | 679 | Read 1:440,670
|  | 0.216 | 0.261 | 0.286 | 0.314 | 0.385 | 0.36 | 0.428 | 0.351 | 0.371 | 0.311 | 0.351 | 0.257 | Read 2:600
Read 3:700
Read 4:750
| B | 453 | 419 | 395 | 372 | 688 | 441 | 703 | 665 | 941 | 562 | 660 | 714 | Read 1:440,670
|  | 0.779 | 0.913 | 0.998 | 0.905 | 0.919 | 0.768 | 0.795 | 0.715 | 0.75 | 0.652 | 0.794 | 0.797 | Read 2:600
Read 3:700
Read 4:750
| C | 430 | 296 | 415 | 383 | 570 | 631 | 591 | 577 | 459 | 526 | 558 | 581 | Read 1:440,670
|  | 0.955 | 0.942 | 0.845 | 1.045 | 0.837 | 0.707 | 0.892 | 0.659 | 0.742 | 0.776 | 0.747 | 0.879 | Read 2:600
Read 3:700
Read 4:750
| D | 550 | 497 | 493 | 555 | 629 | 630 | 593 | 625 | 717 | 736 | 783 | 772 | Read 1:440,670
|  | 0.39 | 0.499 | 0.68 | 0.817 | 0.579 | 0.418 | 0.427 | 0.433 | 0.447 | 0.429 | 0.474 | 0.497 | Read 2:600
Read 3:700
Read 4:750
| E | 10 | 10 | 9 | 11 | 10 | 9 | 10 | 12 | 12 | 10 | 10 | 9 | Read 1:440,670
|  | 0.2 | 0.199 | 0.221 | 0.256 | 0.395 | 0.446 | 0.406 | 0.4 | 0.436 | 0.551 | 0.521 | 0.473 | Read 2:600
Read 3:700
Read 4:750
| F | 10 | 9 | 10 | 8 | 12 | 8 | 9 | 9 | 9 | 13 | 12 | 14 | Read 1:440,670
|  | 0.598 | 0.607 | 0.208 | 0.216 | 0.224 | 0.243 | 0.422 | 0.636 | 0.61 | 0.692 | 0.384 | 0.613 | Read 2:600
Read 3:700
Read 4:750
| G | 11 | 12 | 12 | 11 | 12 | 15 | 12 | 11 | 12 | 14 | 10 | 12 | Read 1:440,670
|  | 0.2 | 0.32 | 0.506 | 0.443 | 0.476 | 0.635 | 0.513 | 0.505 | 0.376 | 0.71 | 0.271 | 0.273 | Read 2:600
Read 3:700
Read 4:750
| H | 16 | 10 | 14 | 14 | 17 | 12 | 14 | 12 | 13 | 11 | 14 | 13 | Read 1:440,670
|  | 0.221 | 0.221 | 0.638 | 0.386 | 0.255 | 0.228 | 0.253 | 0.241 | 0.229 | 0.22 | 0.221 | 0.278 | Read 2:600
Read 3:700
Read 4:750

## Plate 1 - Sheet1 (1)
Software Version | 3.16.10
Experiment File Path: | C:\Users\rlmlab\Desktop\Jason L\em1022_pilot_t2.xpt
Protocol File Path: | C:\Users\rlmlab\Desktop\Jason L\Jason_jess_adjusted_OD600_700_750_fluor.prt
Plate Number | Plate 1
Date | 2024-11-29
Time | 13:01
Reader Type: | Synergy H1
Reader Serial Number: | 2410070B
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Set Temperature | Incubator off
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 440, Emission: 670
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 750
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Results
Actual Temperature: | 20.4
Actual Temperature: | 20.5
Actual Temperature: | 20.5
Actual Temperature: | 20.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 491 | 459 | 459 | 468 | 556 | 589 | 524 | 599 | 565 | 624 | 679 | 594 | Read 1:440,670
|  | 0.208 | 0.207 | 0.198 | 0.211 | 0.209 | 0.208 | 0.222 | 0.219 | 0.208 | 0.206 | 0.214 | 0.201 | Read 2:600
|  | 0.201 | 0.201 | 0.191 | 0.204 | 0.203 | 0.201 | 0.216 | 0.211 | 0.201 | 0.2 | 0.209 | 0.194 | Read 3:700
|  | 0.202 | 0.203 | 0.193 | 0.206 | 0.203 | 0.202 | 0.217 | 0.213 | 0.202 | 0.202 | 0.21 | 0.195 | Read 4:750
| B | 482 | 449 | 389 | 381 | 537 | 411 | 538 | 523 | 812 | 580 | 538 | 620 | Read 1:440,670
|  | 0.201 | 0.223 | 0.224 | 0.217 | 0.224 | 0.214 | 0.214 | 0.226 | 0.221 | 0.211 | 0.214 | 0.206 | Read 2:600
|  | 0.194 | 0.216 | 0.217 | 0.211 | 0.218 | 0.208 | 0.206 | 0.218 | 0.213 | 0.203 | 0.204 | 0.199 | Read 3:700
|  | 0.195 | 0.217 | 0.218 | 0.212 | 0.221 | 0.208 | 0.207 | 0.22 | 0.216 | 0.203 | 0.206 | 0.199 | Read 4:750
| C | 506 | 375 | 394 | 369 | 456 | 537 | 484 | 489 | 481 | 538 | 609 | 648 | Read 1:440,670
|  | 0.209 | 0.23 | 0.233 | 0.226 | 0.241 | 0.261 | 0.25 | 0.237 | 0.292 | 0.298 | 0.296 | 0.274 | Read 2:600
|  | 0.2 | 0.22 | 0.222 | 0.216 | 0.229 | 0.25 | 0.238 | 0.228 | 0.278 | 0.283 | 0.278 | 0.258 | Read 3:700
|  | 0.201 | 0.221 | 0.222 | 0.217 | 0.228 | 0.248 | 0.238 | 0.228 | 0.281 | 0.283 | 0.278 | 0.254 | Read 4:750
| D | 584 | 520 | 485 | 489 | 494 | 549 | 501 | 529 | 522 | 580 | 600 | 661 | Read 1:440,670
|  | 0.264 | 0.265 | 0.27 | 0.265 | 0.286 | 0.284 | 0.28 | 0.29 | 0.392 | 0.386 | 0.377 | 0.368 | Read 2:600
|  | 0.245 | 0.25 | 0.256 | 0.249 | 0.264 | 0.264 | 0.259 | 0.268 | 0.357 | 0.354 | 0.345 | 0.329 | Read 3:700
|  | 0.241 | 0.249 | 0.255 | 0.25 | 0.26 | 0.259 | 0.254 | 0.265 | 0.35 | 0.345 | 0.336 | 0.317 | Read 4:750
| E | 10 | 10 | 10 | 9 | 7 | 10 | 11 | 8 | 13 | 7 | 10 | 14 | Read 1:440,670
|  | 0.197 | 0.199 | 0.21 | 0.219 | 0.218 | 0.213 | 0.216 | 0.23 | 0.244 | 0.218 | 0.208 | 0.196 | Read 2:600
|  | 0.19 | 0.193 | 0.204 | 0.213 | 0.211 | 0.208 | 0.21 | 0.226 | 0.236 | 0.211 | 0.201 | 0.189 | Read 3:700
|  | 0.193 | 0.197 | 0.209 | 0.218 | 0.214 | 0.212 | 0.215 | 0.23 | 0.241 | 0.215 | 0.204 | 0.192 | Read 4:750
| F | 11 | 7 | 10 | 8 | 11 | 10 | 10 | 7 | 12 | 11 | 7 | 8 | Read 1:440,670
|  | 0.196 | 0.207 | 0.229 | 0.225 | 0.223 | 0.24 | 0.231 | 0.241 | 0.222 | 0.221 | 0.242 | 0.223 | Read 2:600
|  | 0.189 | 0.201 | 0.223 | 0.219 | 0.216 | 0.233 | 0.223 | 0.235 | 0.216 | 0.213 | 0.233 | 0.214 | Read 3:700
|  | 0.191 | 0.204 | 0.227 | 0.224 | 0.218 | 0.236 | 0.226 | 0.236 | 0.219 | 0.216 | 0.236 | 0.216 | Read 4:750
| G | 13 | 13 | 9 | 15 | 14 | 13 | 12 | 17 | 12 | 14 | 12 | 12 | Read 1:440,670
|  | 0.277 | 0.275 | 0.267 | 0.256 | 0.261 | 0.262 | 0.289 | 0.299 | 0.26 | 0.263 | 0.251 | 0.233 | Read 2:600
|  | 0.261 | 0.26 | 0.254 | 0.245 | 0.249 | 0.254 | 0.274 | 0.286 | 0.247 | 0.249 | 0.237 | 0.218 | Read 3:700
|  | 0.26 | 0.26 | 0.257 | 0.246 | 0.251 | 0.254 | 0.276 | 0.286 | 0.246 | 0.249 | 0.238 | 0.218 | Read 4:750
| H | 9 | 9 | 13 | 10 | 14 | 14 | 15 | 15 | 12 | 15 | 13 | 12 | Read 1:440,670
|  | 0.226 | 0.224 | 0.228 | 0.246 | 0.242 | 0.241 | 0.252 | 0.254 | 0.309 | 0.312 | 0.307 | 0.33 | Read 2:600
|  | 0.209 | 0.213 | 0.213 | 0.232 | 0.226 | 0.224 | 0.234 | 0.237 | 0.279 | 0.281 | 0.276 | 0.297 | Read 3:700
|  | 0.208 | 0.214 | 0.213 | 0.233 | 0.226 | 0.222 | 0.233 | 0.236 | 0.274 | 0.275 | 0.27 | 0.29 | Read 4:750

## Plate 1 - Sheet1 (2)
Software Version | 3.16.10
Experiment File Path: | C:\Users\rlmlab\Desktop\Jason L\em1022_pilot_t2.xpt
Protocol File Path: | C:\Users\rlmlab\Desktop\Jason L\Jason_jess_adjusted_OD600_700_750_fluor.prt
Plate Number | Plate 1
Date | 2024-11-29
Time | 13:01
Reader Type: | Synergy H1
Reader Serial Number: | 2410070B
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Set Temperature | Incubator off
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 440, Emission: 670
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Absorbance Endpoint
Full Plate
Wavelengths: 750
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Results
Actual Temperature: | 20.4
Actual Temperature: | 20.5
Actual Temperature: | 20.5
Actual Temperature: | 20.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 491 | 459 | 459 | 468 | 556 | 589 | 524 | 599 | 565 | 624 | 679 | 594 | Read 1:440,670
|  | 0.208 | 0.207 | 0.198 | 0.211 | 0.209 | 0.208 | 0.222 | 0.219 | 0.208 | 0.206 | 0.214 | 0.201 | Read 2:600
|  | 0.201 | 0.201 | 0.191 | 0.204 | 0.203 | 0.201 | 0.216 | 0.211 | 0.201 | 0.2 | 0.209 | 0.194 | Read 3:700
|  | 0.202 | 0.203 | 0.193 | 0.206 | 0.203 | 0.202 | 0.217 | 0.213 | 0.202 | 0.202 | 0.21 | 0.195 | Read 4:750
| B | 482 | 449 | 389 | 381 | 537 | 411 | 538 | 523 | 812 | 580 | 538 | 620 | Read 1:440,670
|  | 0.201 | 0.223 | 0.224 | 0.217 | 0.224 | 0.214 | 0.214 | 0.226 | 0.221 | 0.211 | 0.214 | 0.206 | Read 2:600
|  | 0.194 | 0.216 | 0.217 | 0.211 | 0.218 | 0.208 | 0.206 | 0.218 | 0.213 | 0.203 | 0.204 | 0.199 | Read 3:700
|  | 0.195 | 0.217 | 0.218 | 0.212 | 0.221 | 0.208 | 0.207 | 0.22 | 0.216 | 0.203 | 0.206 | 0.199 | Read 4:750
| C | 506 | 375 | 394 | 369 | 456 | 537 | 484 | 489 | 481 | 538 | 609 | 648 | Read 1:440,670
|  | 0.209 | 0.23 | 0.233 | 0.226 | 0.241 | 0.261 | 0.25 | 0.237 | 0.292 | 0.298 | 0.296 | 0.274 | Read 2:600
|  | 0.2 | 0.22 | 0.222 | 0.216 | 0.229 | 0.25 | 0.238 | 0.228 | 0.278 | 0.283 | 0.278 | 0.258 | Read 3:700
|  | 0.201 | 0.221 | 0.222 | 0.217 | 0.228 | 0.248 | 0.238 | 0.228 | 0.281 | 0.283 | 0.278 | 0.254 | Read 4:750
| D | 584 | 520 | 485 | 489 | 494 | 549 | 501 | 529 | 522 | 580 | 600 | 661 | Read 1:440,670
|  | 0.264 | 0.265 | 0.27 | 0.265 | 0.286 | 0.284 | 0.28 | 0.29 | 0.392 | 0.386 | 0.377 | 0.368 | Read 2:600
|  | 0.245 | 0.25 | 0.256 | 0.249 | 0.264 | 0.264 | 0.259 | 0.268 | 0.357 | 0.354 | 0.345 | 0.329 | Read 3:700
|  | 0.241 | 0.249 | 0.255 | 0.25 | 0.26 | 0.259 | 0.254 | 0.265 | 0.35 | 0.345 | 0.336 | 0.317 | Read 4:750
| E | 10 | 10 | 10 | 9 | 7 | 10 | 11 | 8 | 13 | 7 | 10 | 14 | Read 1:440,670
|  | 0.197 | 0.199 | 0.21 | 0.219 | 0.218 | 0.213 | 0.216 | 0.23 | 0.244 | 0.218 | 0.208 | 0.196 | Read 2:600
|  | 0.19 | 0.193 | 0.204 | 0.213 | 0.211 | 0.208 | 0.21 | 0.226 | 0.236 | 0.211 | 0.201 | 0.189 | Read 3:700
|  | 0.193 | 0.197 | 0.209 | 0.218 | 0.214 | 0.212 | 0.215 | 0.23 | 0.241 | 0.215 | 0.204 | 0.192 | Read 4:750
| F | 11 | 7 | 10 | 8 | 11 | 10 | 10 | 7 | 12 | 11 | 7 | 8 | Read 1:440,670
|  | 0.196 | 0.207 | 0.229 | 0.225 | 0.223 | 0.24 | 0.231 | 0.241 | 0.222 | 0.221 | 0.242 | 0.223 | Read 2:600
|  | 0.189 | 0.201 | 0.223 | 0.219 | 0.216 | 0.233 | 0.223 | 0.235 | 0.216 | 0.213 | 0.233 | 0.214 | Read 3:700
|  | 0.191 | 0.204 | 0.227 | 0.224 | 0.218 | 0.236 | 0.226 | 0.236 | 0.219 | 0.216 | 0.236 | 0.216 | Read 4:750
| G | 13 | 13 | 9 | 15 | 14 | 13 | 12 | 17 | 12 | 14 | 12 | 12 | Read 1:440,670
|  | 0.277 | 0.275 | 0.267 | 0.256 | 0.261 | 0.262 | 0.289 | 0.299 | 0.26 | 0.263 | 0.251 | 0.233 | Read 2:600
|  | 0.261 | 0.26 | 0.254 | 0.245 | 0.249 | 0.254 | 0.274 | 0.286 | 0.247 | 0.249 | 0.237 | 0.218 | Read 3:700
|  | 0.26 | 0.26 | 0.257 | 0.246 | 0.251 | 0.254 | 0.276 | 0.286 | 0.246 | 0.249 | 0.238 | 0.218 | Read 4:750
| H | 9 | 9 | 13 | 10 | 14 | 14 | 15 | 15 | 12 | 15 | 13 | 12 | Read 1:440,670
|  | 0.226 | 0.224 | 0.228 | 0.246 | 0.242 | 0.241 | 0.252 | 0.254 | 0.309 | 0.312 | 0.307 | 0.33 | Read 2:600
|  | 0.209 | 0.213 | 0.213 | 0.232 | 0.226 | 0.224 | 0.234 | 0.237 | 0.279 | 0.281 | 0.276 | 0.297 | Read 3:700
|  | 0.208 | 0.214 | 0.213 | 0.233 | 0.226 | 0.222 | 0.233 | 0.236 | 0.274 | 0.275 | 0.27 | 0.29 | Read 4:750